SECTION 09800

www.gsacoustics.com

Melody mFloat-Canvas Clouds

ACOUSTICAL TREATMENT

** NOTE TO SPECIFIER **  Golterman & Sabo; acoustical wall panels, ceiling products, sound diffusers and reflectors.

.

This section is based on the products of Golterman & Sabo, which is located at:

3555 Scarlet Oak Boulevard

St. Louis, MO  63122

Tel:  (800) 737-0307

Tel: (636) 225-8800

Fax: (636) 225-2966

Email: inquiry@golterman.com

www.golterman.com

.

Golterman & Sabo makes a wide variety of acoustical control products. In addition to wall and ceiling panels, banners, and suspended "clouds" that are used for sound absorption, they also produce wall and ceiling sound diffusers and sound reflectors.

.

SECTION 09800 - ACOUSTICAL TREATMENT, Copyright 2002, ARCAT, Inc.

GENERAL

SECTION INCLUDES

** NOTE TO SPECIFIER **  Delete items below not required for project.

Suspended mFloat-Canvas ceiling clouds

RELATED SECTIONS

** NOTE TO SPECIFIER **  Delete any sections below not relevant to this project; add others as required.

Section 05310 - Steel Decking:  Acoustical steel deck.

Section 09111 - Non-Loadbearing Metal Framing:  Ceiling suspension systems.

Section 09260 - Gypsum Board Assemblies.

Section 09511 - Suspended Acoustical Ceilings:  Conventional grid-supported acoustic ceilings.

Section 09512 - Adhesive Applied Acoustical Ceilings.

Section 09900 - Paints and Coatings.

REFERENCES

** NOTE TO SPECIFIER **  Delete references from the list below that are not actually required by the text of the edited section.

ASTM C 423 - Standard Test Method for Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method; 2000.

ASTM E 84 - Standard Test Method for Surface Burning Characteristics of Building Materials; 2000a.

ASTM C1338 Standard Test Method for Mold and Fungal Resistance of Building Materials.

PERFORMANCE REQUIREMENTS

** NOTE TO SPECIFIER **  Delete the following paragraph if only tackable panels are specified.

Acoustical Absorption:  Perform testing in accordance with ASTM C 423, Type J mounting method unless otherwise specified.

Flame Spread Rating:  Provide all components with Class A flame spread rating when tested in accordance with ASTM E 84, unless otherwise specified.

Mold and Fungal Resistant: Provide testing in accordance with ASTM C1338 showing material passes Mold and Fungal resistance testing.

SUBMITTALS

Submit under provisions of Section 01300.

Product Data:  Manufacturer's data sheets on each product to be used, including:

Preparation instructions and recommendations.

Storage and handling requirements and recommendations.

Installation methods.

Independent testing agency test reports.

** NOTE TO SPECIFIER **  Delete selection samples if colors have already been selected.

Selection Samples:  For each product specified, two complete sets of color samples representing manufacturer's full range of available colors and patterns.

Verification Samples:  For each product specified, two samples, minimum size 6 inches (150 mm) square, representing actual product, color, and patterns.

QUALITY ASSURANCE

Manufacturer Qualifications:  Minimum 10 years of experience in producing acoustical products.

Installer Qualifications:  Acceptable to the manufacturer of the acoustical products being installed.

** NOTE TO SPECIFIER **  Include a mock-up if the project size and/or quality warrant taking such a precaution.  The following is one example of how a mock-up on a large project might be specified.  When deciding on the extent of the mock-up, consider all the major different types of work on the project.

Mock-Up:  Provide a mock-up for evaluation of installed appearance.

Install acoustical products in areas designated by Architect.

Do not proceed with remaining work until Architect approves workmanship and appearance.

Approved mock-up may remain as part of the work.

Dimensional Tolerances of Finished Units: Plus or minus 1/16 inch for the following:

Thickness.

Edge straightness.

Overall length and width.

Squareness from corner to corner.

DELIVERY, STORAGE, AND HANDLING

Protect acoustical products during shipment, storage, and handling.

Store products in manufacturer's unopened packaging until ready for installation.

Store materials flat

Do not stand panels on end

Protect edges from damage

PROJECT CONDITIONS

Do not begin installation of acoustical products until building has been enclosed and environmental conditions approximate to those that will prevail when building is occupied.

Environmental Requirements:  Do not install panels until wet work, such as concrete and plastering, is complete; the building is enclosed; and walls are primed.

EXTRA MATERIALS

** NOTE TO SPECIFIER **  Include this article if the project size and/or quality warrant the additional expense and the Owner has adequate storage space available for this purpose.  The following is one example of how extra materials on a large project might be specified.  Edit the percentage as appropriate for the project, or change the text to require a specific number.

See Section 01600 - Product Requirements, for additional provisions.

Provide 5 percent, but not less than 1 of each type of acoustical unit actually installed, for Owner's use in maintenance.

PRODUCTS

MANUFACTURERS

Acceptable Manufacturer:  G&S Acoustics; 3555 Scarlet Oak Blvd., St. Louis, MO  63122.  ASD.  Tel:  (636) 225-8800 or (800) 737-0307.  Fax:  (636) 225-2966. Email:  inquiry@gsacoustics.com.  www.gsacoustics.com.

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

Substitutions:  Not permitted.

Requests for substitutions will be considered in accordance with provisions of Section 01600.

Provide all acoustical products specified herein by a single manufacturer.

CEILING PRODUCTS

Acoustical Clouds:  Melody mFloats-Canvas Clouds (MFCC), 100% PET Polyester core suspended horizontal from ceiling with factory painted finish

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs.  Thicknesses up to 4 inches are available.

Core Thickness:  1 inch (25.4 mm); 7 pcf polyester

NRC: 1 inch 1.25

Size:  (select from below)

2’ x 2’

2’ x 4’

4’ x 4’

4’ x 6’

4’ x 8’

Size and shape as noted on drawings

Finish: Latex paint as selected from manufacturers standards

Edges: Square

Corners: Square

Shape: (select from below)

Square  MFCC-Sq

Polygon  MFCC- Poly

Solid Circle MFCC-Circle Solid

Open Circle  MFCC- Circle Open

Triangle MFCC-Tri

Trapezoid MFCC-Trap

Mounting: mCableLock Plates and aircraft cable

Rap

ACCESSORIES

Mounting: Connection to ceiling above not included in this specification section.

EXECUTION

EXAMINATION

Do not begin installation until substrates have been properly prepared.

If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

PREPARATION

Clean surfaces thoroughly prior to installation.

Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

INSTALLATION

Install acoustical units in accordance with manufacturer's instructions.

PROTECTION

Protect installed products until completion of project.

Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION