SECTION 09800

www.gsacoustics.com

aCapella Floats Clouds

ACOUSTICAL TREATMENT

** NOTE TO SPECIFIER **  Golterman & Sabo; acoustical wall panels, ceiling products, sound diffusers and reflectors.

.

This section is based on the products of Golterman & Sabo, which is located at:

3555 Scarlet Oak Boulevard

St. Louis, MO  63122

Tel:  (800) 737-0307

Tel: (636) 225-8800

Fax: (636) 225-2966

Email: inquiry@golterman.com

www.golterman.com

.

Golterman & Sabo makes a wide variety of acoustical control products. In addition to wall and ceiling panels, banners, and suspended "clouds" that are used for sound absorption, they also produce wall and ceiling sound diffusers and sound reflectors.

.

SECTION 09800 - ACOUSTICAL TREATMENT, Copyright 2002, ARCAT, Inc.

- GENERAL

  - SECTION INCLUDES

** NOTE TO SPECIFIER **  Delete items below not required for project.

    - Suspended Floats ceiling clouds

  - RELATED SECTIONS

** NOTE TO SPECIFIER **  Delete any sections below not relevant to this project; add others as required.

    - Section 05310 - Steel Decking:  Acoustical steel deck.

    - Section 09111 - Non-Loadbearing Metal Framing:  Ceiling suspension systems.

    - Section 09260 - Gypsum Board Assemblies.

    - Section 09511 - Suspended Acoustical Ceilings:  Conventional grid-supported acoustic ceilings.

    - Section 09512 - Adhesive Applied Acoustical Ceilings.

    - Section 09900 - Paints and Coatings.

  - REFERENCES

** NOTE TO SPECIFIER **  Delete references from the list below that are not actually required by the text of the edited section.

    - ASTM C 423 - Standard Test Method for Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method; 2000.

    - ASTM E 84 - Standard Test Method for Surface Burning Characteristics of Building Materials; 2000a.

    - ASTM C1338 Standard Test Method for Mold and Fungal Resistance of Building Materials.

  - PERFORMANCE REQUIREMENTS

** NOTE TO SPECIFIER **  Delete the following paragraph if only tackable panels are specified.

    - Acoustical Absorption:  Perform testing in accordance with ASTM C 423, Type J mounting method unless otherwise specified.

    - Flame Spread Rating:  Provide all components with Class A flame spread rating when tested in accordance with ASTM E 84, unless otherwise specified.

    - Mold and Fungal Resistant: Provide testing in accordance with ASTM C1338 showing material passes Mold and Fungal resistance testing.

  - SUBMITTALS

    - Submit under provisions of Section 01300.

    - Product Data:  Manufacturer's data sheets on each product to be used, including:

      - Preparation instructions and recommendations.

      - Storage and handling requirements and recommendations.

      - Installation methods.

      - Independent testing agency test reports.

** NOTE TO SPECIFIER **  Delete selection samples if colors have already been selected.

    - Selection Samples:  For each product specified, two complete sets of color samples representing manufacturer's full range of available colors and patterns.

    - Verification Samples:  For each product specified, two samples, minimum size 6 inches (150 mm) square, representing actual product, color, and patterns.

  - QUALITY ASSURANCE

    - Manufacturer Qualifications:  Minimum 10 years of experience in producing acoustical products.

    - Installer Qualifications:  Acceptable to the manufacturer of the acoustical products being installed.

** NOTE TO SPECIFIER **  Include a mock-up if the project size and/or quality warrant taking such a precaution.  The following is one example of how a mock-up on a large project might be specified.  When deciding on the extent of the mock-up, consider all the major different types of work on the project.

    - Mock-Up:  Provide a mock-up for evaluation of installed appearance.

      - Install acoustical products in areas designated by Architect.

      - Do not proceed with remaining work until Architect approves workmanship and appearance.

      - Approved mock-up may remain as part of the work.

    - Dimensional Tolerances of Finished Units: Plus or minus 1/16 inch for the following:

      - Thickness.

      - Edge straightness.

      - Overall length and width.

      - Squareness from corner to corner.

  - DELIVERY, STORAGE, AND HANDLING

    - Protect acoustical products during shipment, storage, and handling.

    - Store products in manufacturer's unopened packaging until ready for installation.

      - Store materials flat

      - Do not stand panels on end

      - Protect edges from damage

  - PROJECT CONDITIONS

    - Do not begin installation of acoustical products until building has been enclosed and environmental conditions approximate those that will prevail when building is occupied.

    - Environmental Requirements:  Do not install panels until wet work, such as concrete and plastering, is complete; the building is enclosed; and walls are primed.

  - EXTRA MATERIALS

** NOTE TO SPECIFIER **  Include this article if the project size and/or quality warrant the additional expense and the Owner has adequate storage space available for this purpose.  The following is one example of how extra materials on a large project might be specified.  Edit the percentage as appropriate for the project, or change the text to require a specific number.

    - See Section 01600 - Product Requirements, for additional provisions.

    - Provide 5 percent, but not less than 1 of each type of acoustical unit actually installed, for Owner's use in maintenance.

- PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer:  G&S Acoustics; 3555 Scarlet Oak Blvd., St. Louis, MO  63122.  ASD.  Tel:  (636) 225-8800 or (800) 737-0307.  Fax:  (636) 225-2966. Email:  inquiry@gsacoustics.com.  www.gsacoustics.com.

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

    - Substitutions:  Not permitted.

    - Requests for substitutions will be considered in accordance with provisions of Section 01600.

    - Provide all acoustical products specified herein by a single manufacturer.

  - CEILING PRODUCTS

    - Acoustical Clouds:  aCapella Floats Clouds (AFC), 100% PET 12 pcf Polyester core with integral color throughout, suspended horizontal from ceiling

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs.  Thicknesses up to 4 inches are available.

      - Core Thickness:  .5 inches (12 mm);

      - NRC: 1.0

      - Size:  (select from below)

            - Shapes and sizes up to 4’  x 6’

            - Sizes as noted on drawings

** NOTE TO SPECIFIER **  Delete all but one finish material below.

** NOTE TO SPECIFIER **  Delete two of the following three paragraphs.

      - Color:  (select from below)

            - Cotton

            - Fog

            - Granite

            - Stone

            - Asphalt

            - Carbon

            - Natural

            - Mocha

            - Scarlet

            - Tangerine

            - Sunflower

            - Avocado

            - Denim

            - Azure

            - Indigo

            - Jam

      - Edges: Square

      - Corners: Square

      - Shape: (select from below)

            - Rectangle AFC-R

            - Square  AFC-Sq

            - Polygon  AFC- Poly

            - Solid Circle AFC-Circle Solid

            - Open Circle  AFC- Circle Open

            - Triangle AFC-Tri

            - Trapezoid AFC-Trap

      - Mounting: G&S CableLock Plates and aircraft cable

  - ACCESSORIES

    - Mounting: Connection to ceiling above not included in this specification section.

- EXECUTION

  - EXAMINATION

    - Do not begin installation until substrates have been properly prepared.

    - If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

  - PREPARATION

    - Clean surfaces thoroughly prior to installation.

    - Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

  - INSTALLATION

    - Install acoustical units in accordance with manufacturer's instructions.

  - PROTECTION

    - Protect installed products until completion of project.

    - Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION